Christleton Parish Hall

FIRE SAFETY POLICY

The Parish Hall is a single storey building, brick built and having a tiled main roof and flat roof over the Annexe and Kitchen.  There is a main hall, an annexe, a kitchen, toilets and store rooms.  There are also a brick-built outside boiler room and a detached outbuilding.

Competent Person – the leader of each group is deemed to be the Competent Person.  If that person is not present then another person should be nominated.  The Competent Person should be familiar with the building, fire escape routes and the fire appliances.

Fire Exit Doors are situated in the entrance, the main hall and the annexe.  These doors should be kept clear at all times, both inside and outside the building.  The doors of all rooms in the Hall are to be kept clear of obstruction at all times.

Fire Appliances are positioned adjacent to all the fire doors and in the kitchen where there is also a fire blanket.  The appliances are inspected and tested annually.  They should not be obstructed by furniture, and are not to be removed or tampered with.

Emergency Lights are at all the fire doors and in the toilets.  They are tested on a regular basis.  The emergency lights are to be switched on during the hours of darkness.  (The switch is under the main electrical switch – see below.)

No additional lights or extension from the existing lights shall be used without the previous consent of the booking secretary.  (Please mention that you intend to use disco lights.)  The use of streamers and naked lights (other than closely supervised birthday cake candles) will not be permitted.

There is no Fire Alarm fitted.

The Main Electric Switch is located in the cupboard in the entrance.

The Gas Main Switch is located in the Boiler House (key in kitchen.)

Wheelchair access / exit  is via the entrance and the main hall fire door.